## BMS FCU_Tracker
GROUND FLOOR | [12 empty] | Qty | Cable installation WIR | Cable Continuity test WIR | Field device installation & cable termination WIR
Zone | Part | FCU QTY | Communication Loop | Control Cables | Termination | Remarks | Balance CL | Balance CC | Balance Termination | Balance %
1 | Part - 1 | 19 | 19 | 19 | 19 |  | 0 | 0 | 0 | 100 | 100 | 100 | 19 | 3548 5693 | 7548 | 7579
| Part -2 | 8 | 8 | 8 | 8 |  | 0 | 0 | 0 | 100 | 100 | 100 | 8 | 5694 | 7548
| Part- 3 | 16 | 16 | 16 | 16 |  | 0 | 0 | 0 | 100 | 100 | 100 | 16 | 3548 | 7548
| Total | 43 | 43 | 43 | 43 |  | 0 | 0 | 0 | 100 | 100 | 100
2 | Part - 1 | 17 | 17 | 17 | 17 |  | 0 | 0 | 0 | 100 | 100 | 100 | 17 | 3548 5801 | 7913 | 7911
| Part -2 | 14 | 14 | 14 | 14 |  | 0 | 0 | 0 | 100 | 100 | 100 | 14 | 3475 5802 | 7913
| Part- 3 | 18 | 18 | 18 | 18 |  | 0 | 0 | 0 | 100 | 100 | 100 | 18 | 3548 5802 | 7913
| Total | 49 | 49 | 49 | 49 |  | 0 | 0 | 0 | 100 | 100 | 100
3 | Part - 1 | 13 | 13 | 13 | 13 | communication cable damaged by civil works | 0 | 0 | 0 | 100 | 100 | 100 | 13 | 3475 3911 | 6370 7914 | 7912
| Part -2 | 26 | 26 | 26 | 26 |  | 0 | 0 | 0 | 100 | 100 | 100 | 26 | 6972 | 7914
| Part- 3 | 21 | 21 | 21 | 21 |  | 0 | 0 | 0 | 100 | 100 | 100 | 21 | 3548 5804 | 7914
| Total | 60 | 60 | 60 | 60 |  | 0 | 0 | 0 | 100 | 100 | 100
4 | Part - 1 | 12 | 11 | 12 | 3 | no fcu box and pipe, no containment | 1 | 0 | 9 | 91.6667 | 100 | 25 | 12
| Part -2 | 13 | 7 | 7 | 0 |  | 6 | 6 | 13 | 53.8462 | 53.8462 | 0 | 13
| Part- 3 | 10 | 6 | 6 | 3 |  | 4 | 4 | 7 | 60 | 60 | 30 | 10
| Total | 35 | 24 | 25 | 6 |  | 11 | 10 | 29 | 68.5714 | 71.4286 | 17.1429
GF | Total QTY | 187 | 176 | 177 | 158 |  | 11 | 10 | 29 | 92.1429 | 92.8571 | 79.2857
FIRST FLOOR
Zone | Part | FCU QTY | Communication Loop | Control Cables | Termination | Remarks | Balance Table |  |  | Balance %
1 | Part - 1 | NA |  |  |  |  | NA |  |  | NA
| Part -2 | 7 | 7 | 7 | 7 |  | 0 | 0 | 0 | 100 | 100 | 100 | 7 | 10433 | 10434 | 14619
| Part- 3 | NA |  |  |  |  | NA |  |  | NA
| Total | 7 | 7 | 7 | 7 |  | 0 | 0 | 0 | 100 | 100 | 100
2 | Part - 1 | 16 | 16 | 16 | 16 |  | 0 | 0 | 0 | 100 | 100 | 100 | 16 | 8653 6973 | 8654 | 13139
| Part -2 | 6 | 6 | 6 | 6 |  | 0 | 0 | 0 | 100 | 100 | 100 | 6 | 13213 | 13301 | 13139
| Part- 3 | 16 | 16 | 16 | 16 |  | 0 | 0 | 0 | 100 | 100 | 100 | 16 | 13213 | 13301 | 13139
| Total | 38 | 38 | 38 | 38 |  | 0 | 0 | 0 | 100 | 100 | 100
3 | Part - 1 | 14 | 14 | 14 | 14 |  | 0 | 0 | 0 | 100 | 100 | 100 | 14 | 8962 | 8963 | 13139
| Part -2 | 9 | 9 | 9 | 9 |  | 0 | 0 | 0 | 100 | 100 | 100 | 9 | 10149 | 13299 | 13139
| Part- 3 | 15 | 15 | 15 | 15 |  | 0 | 0 | 0 | 100 | 100 | 100 | 15 | 13214 | 13299 | 13139
| Total | 38 | 38 | 38 | 38 |  | 0 | 0 | 0 | 100 | 100 | 100
4 | Part - 1 | 5 | 5 | 5 | 5 |  | 0 | 0 | 0 | 100 | 100 | 100 | 5 | 14527 | 14529 | 14530
| Part -2 | 6 | 6 | 6 | 6 |  | 0 | 0 | 0 | 100 | 100 | 100 | 6
| Part- 3 | 5 | 5 | 5 | 5 |  | 0 | 0 | 0 | 100 | 100 | 100 | 5
| Total | 16 | 16 | 16 | 16 |  | 0 | 0 | 0 | 100 | 100 | 100
FF | Total QTY | 99 | 99 | 99 | 99 |  | 0 | 0 | 0 | 100 | 100 | 100
SECOND FLOOR
Zone | Part | FCU QTY | Communication Loop | Control Cables | Termination | Remarks | Balance Table |  |  | Balance %
1 | Part - 1 | N/A | N/A |  |  |  | NA |  |  | NA
| Part -2 | N/A |  |  |  |  | NA |  |  | NA
| Part- 3 | N/A |  |  |  |  | NA |  |  | NA
| Total | [5 empty] | 0 | 0 | 0 | NA
2 | Part - 1 | 17 | 17 | 17 | 17 |  | 0 | 0 | 0 | 100 | 100 | 100 | 17 | 6974 | 14607 | 14609
| Part -2 | 5 | 5 | 3 | 3 | no piping | 0 | 2 | 2 | 100 | 60 | 60 | 5 | 12376
| Part- 3 | 17 | 17 | 17 | 17 |  | 0 | 0 | 0 | 100 | 100 | 100 | 17 | 12378
| Total | 39 | 39 | 37 | 37 |  | 0 | 2 | 2 | 100 | 94.8718 | 94.8718
3 | Part - 1 | 15 | 15 | 15 | 15 |  | 0 | 0 | 0 | 100 | 100 | 100 | 15 | 6975 | 14608 | 14610
| Part -2 | 8 | 8 | 8 | 8 |  | 0 | 0 | 0 | 100 | 100 | 100 | 8 | 12376
| Part- 3 | 17 | 17 | 17 | 17 | no pipe | 0 | 0 | 0 | 100 | 100 | 100 | 17 | 12376
| Total | 40 | 40 | 40 | 40 |  | 0 | 0 | 0 | 100 | 100 | 100
4 | Part - 1 | N/A | N/A |  |  |  | NA |  |  | NA
| Part -2 | N/A |  |  |  |  | NA |  |  | NA
| Part- 3 | N/A |  |  |  |  | NA |  |  | NA
| Total | [5 empty] | 0 | 0 | 0 | NA
SF | Total QTY | 79 | 79 | 77 | 77 |  | 0 | 2 | 2 | 200 | 194.8718 | 194.8718
ROOF FLOOR
LOCATION |  | FCU QTY | Communication Loop | Control Cables | Termination | Remarks
GSM ROOM |  | 1 |  |  |  | pending containment, no fcu box | [6 empty] | 1
CHW PUMP ROOM |  | 4 | 4 | 4 | [8 empty] | 4
DOMESTIC PUMP ROOM |  | 2 | 1 | 1 | [8 empty] | 2
EX | Total QTY | 7
EXTERNAL
LOCATION |  | FCU QTY | Communication Loop | Control Cables | Termination | Remarks
SUBSTATION |  | 7 |  |  |  | pending containment, no fcu box | [6 empty] | 7
SWIMMING POOL PUMP ROOM |  | 1 | [10 empty] | 1
LG PARKING |  | 12 |  | 9 | [8 empty] | 12
UG PARKING |  | 11 | 5 | 9 | [8 empty] | 11
RF | Total QTY | 31
Grand Total | 403 | 354 | 353 | 334 | 0 | 11 | 12 | 31 | 392.1429 | 387.7289